You have been called out to a job to replace the bearings in an industrial 3 phase roller door motor. An engineer has been assigned to assist you with the mechanical work needed. The roller door is supplied from a local lockable 3 phase isolator.

Using the form below draft a basic isolation and recommissioning plan (not the repairs needed) and state the reasons for each sequence

**Isolation and recommissioning plan  
Plant:** 3 Phase industrial roller door  
**Start date:** Any  
**Estimated completion date:** any date, as long as it’s later than start date

Isolation

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Task | Person responsible | Due date | Completed | Comments / test results |
| Out of service label attached | Electrician | 25/11 | ✓ | Wrote worker details and reason on label |
|  |  |  |  |  |
|  |  |  |  |  |

Isolation and re commission plan continued on the next page

page19image55525120

(continued)  
Assume all repairs have been completed and the plant is ready for recommissioning

Recommissioning

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Task | Person responsible | Due date | Completed | Comments / test results |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |

Sign off that all work has been completed in accordance with current legislation and standards and is ready for use.

|  |  |  |
| --- | --- | --- |
| Name | Signature | Date |
| Juan Stevens – Electrician |  |  |
| Peter Money – Engineer |  |  |

© The Skills Organisation Incorporated 2017 NZ Certificate in Electrical Engineering Theory and Practice (Trade) (Level 4)