| US 30657: Isolate low-voltage electrical subcircuits and perform basic checks and tests to confirm isolation. L2, 2Cr Outcomes and Performance Criteria |  |  |
| --- | --- | --- |
| 1 | Isolate electrical circuits from the supply of electricity. |  |
| 1.1 | Identify circuit as subcircuit or submains, and single-phase, two-phase, or three- phase |  |
| 1.2 | Switch off load and give reasons for doing so. |  |
| 1.3 | Identify switch, fuse, or circuit breaker at the switchboard and isolate the supply. |  |
| 1.4 | Apply safety tag, padlock, or disconnection isolator where appropriate. |  |
| 2 | Carry out basic checks and tests to confirm circuit isolation. |  |
| 2.1 | Explain test-before-touch and the principles of prove-test-prove with reasons for their importance in working safely. |  |
| 2.2 | Verify safety tag/lock out system or equivalent methods have been used correctly on the circuit being tested. |  |
| 2.3 | Use a voltage tester and the prove-test-prove method to confirm the circuit is isolated. Range earth to phase, neutral to phase, phase to phase (where appropriate). |  |